## Sheet1
PIDC-DEM-01-CL-01-01
PLANNED PREVENTIVE MAINTENANCE
DEPARTMENT :___________________________
YEAR :___________________________
SN | MONTH
CHECK LIST / CUBICLE
1 | Chair Movements in Hand and Foot
2 | Chair Focus Light - Bright & Dim
3 | Spitoon and Tumbler Water Outlets
4 | Suction - High and Low
5 | Air rotor Water Spray and Pressure
6 | Scaler Water Spray
7 | Micro Motor Speed
8 | Light Cure Unit
9 | Adjust and Tighten Screws and Bolts In Dental Chair
10 | Adjust and Tighten Screws and Bolts In Operating Stool
11 | Hand Rest Adjustments
12 | 3 Way Air and Water Syringe
13 | Water Drainage Line
14 | Booster Bottle
15 | X-RAY Viewer
|  | Verified By | Acknowledged By | Verified By | Acknowledged By | Verified By | Acknowledged By
|  | HOD / DEPT IN CHARGE | CAO | HOD / DEPT IN CHARGE | CAO | HOD / DEPT IN CHARGE | CAO

## Sheet3
PIDC-DEM-01-CL-01-01
PLANNED PREVENTIVE MAINTENANCE
DEPARTMENT :___________________________
YEAR :___________________________
SN | MONTH
CHECK LIST / CUBICLE
1 | Chair Movements in Hand and Foot
2 | Chair Focus Light - Bright & Dim
3 | Spitoon and Tumbler Water Outlets
4 | Suction - High and Low
5 | Air rotor Water Spray and Pressure
6 | Scaler Water Spray
7 | Micro Motor Speed
8 | Light Cure Unit
9 | Adjust and Tighten Screws and Bolts In Dental Chair
10 | Adjust and Tighten Screws and Bolts In Operating Stool
11 | Hand Rest Adjustments
12 | 3 Way Air and Water Syringe
13 | Water Drainage Line
14 | Booster Bottle
|  | Verified By | Acknowledged By | Verified By | Acknowledged By | Verified By | Acknowledged By
|  | HOD / DEPT IN CHARGE | CAO | HOD / DEPT IN CHARGE | CAO | HOD / DEPT IN CHARGE | CAO